RENSON LOUVRE SPECIFICATIONS

Brand	: LOUVRE

Type 		: LOUVRE GRILLE 394

Manufacture and reference :

The 394 is manufactured and supplied by Renson Ventilation Tel: 01622 754123 Email: louvres@rensonuk.net Website: www.renson.eu

Description:

RENSON 394 is a linear bar grille for self-assembly.

System operation and Airflow Performance:

Type			394

Visual Free Area	59%

Physical Free Area	59%

Dimensions/Size Range:

Bar Spacing: 9.5mm

Section length: 3 or 6m

Clip length: 209mm

Product Construction:

Profile: Extruded aluminium (EN 12020-2)

Surface Treatment:

Anodised (EV6/EV1) (20 micron): pre-treated and anodised.

Polyester powder coating in any RAL colour (40 micron): aluminium profiles pre-treated to resist corrosion to guarantee.

Installation:

For domestic usage.

Clips sections/length range from 300 – 3000mm.

Accessories

Self-assembly kit

Product Information:

http://www.rensonuk.net/industrial-louvres-UK-industrial-louvres-UK_3.html